# XMM Optical Monitor

MULLARD SPACE SCIENCE LABORATORY

UNIVERSITY COLLEGE LONDON				 Author:  Kate Olsberg, SNLA

James Klarkowski, SNLA

## OM2 AS Built Configuration

DOCUMENT: XMM-OM/PENN/TR/0018.01   28-Jun-98

CHANGE RECORD

| ISSUE | DATE | PAGES CHANGED | COMMENTS |
| --- | --- | --- | --- |
| 01 | 28-Jun-98 |  | Initial Release |

XMM / OM2

### FLIGHT MODELS

MECHANICAL ASSEMBLY DRAWING LIST

(AS BUILT CONDITION)

DRAWING TITLE			DRAWING NUMBER/		QTY*

ISSUE

_____________________________________________________________

BOX STRUCTURE					R39894–Issue A		    1

XMM-OM / DEM

COVER, FRONT					R39896-Issue B		    1

COVER, LOW VOLTAGE				R38798-Issue A		    1

POWER SUPPLY

COVER, REAR					R39895-Issue A		    1

COVER, SHIELD					R39899-Issue A		    1

COVER, SHIELD FRAME, 7.35			T92713-001			    4

Issue B

FRAME, LOW VOLTAGE				00140-SS 			    1

POWER SUPPLY					Issue A

FRAME,MOTHERBOARD				R39891-Issue A		    1

FRAME, SHIELD					R39886-Issue A		    4

7.350 x .430, LEDGE OFFSET

NAMETAGS, CONNECTOR			SK-101 Issue A		    8

NAMETAGS, BOX (TABULATED)	 	SK-102 Issue A		    1

SHIELD, INTERNAL				R39898-Issue A		    2

TABULATION MODULE FRAME,			R39891-000			    3

7.350, LEDGE OFFSET (METAL)			Issue A

TABULATION MODULE FRAME,			S80045-500 Issue H		    8

- x .630, LEDGE OFFSET (PLASTIC)		S80045-850 Issue H		    2

*Quantity is per Unit

## XMM / OM2

#### FLIGHT MODELS

ELECTRONIC MODULES

(AS BUILT CONDITION)

##### SNLA MODULES

##### MSSL MODULES

| ###### MODULE NAME | CIRCUIT DRAWING | ASSEMBLY DRAWING |
| --- | --- | --- |
| ICU-EXP | A4/5229/038 | A2/5229/038 |
| ICU-MEM | A4/5229/050 | A2/5229/050 |
| ICU-OMIF | A4/5229/052 | A2/5229/052 |
| ICU-PROC | A4/5229/048 | A2/5229/048 |
| ICU-SIBA | A4/5229/051 | A2/5229/051 |

Information provided in MSSL Table may not be complete