Thoughts on reaching closure 
on an 
EIS optical configuration and wavelength bands

EIS-sci-torc

John Mariska

28 February 1999

Since the NRL EIS kickoff meeting, considerable additional study has gone into understanding the tradeoffs between the Cassegrain and the off axis paraboloid designs and among the different proposed wavelength bands.  I believe we are now in a position to lay out all the issues that must be considered in making this decision.  The purpose of this document is to outline what I consider to be those issues and to try to focus on the critical scientific and technical trades that should force the final decision.

# 1.	Available configurations and wavelength bands

There are, of course, many spectral lines in each wavelength band under study.  From a practical point of view, most of the science will be done with the stronger lines.  On the other hand, it is useful to know in some detail what is available in each band.  Based on discussions with others at NRL and with people involved in TRACE, I have decided that a minimum condition for a particular emission line being useful for playing a significant science role is that the line should be intense enough to accumulate 100 counts in 30 s.  Rounding down, this translates into the condition that the count rate in the line must be 3.0 counts per second or greater.  I have therefore used that criterion to select which lines are listed for quiet Sun observations.  For active regions and flares, that results in too many lines.  I have therefore limited the lines listed for those solar features to those that have 10.0 counts per second or greater.  Even with those limitations, the tables are extensive.  In making the tradeoffs we must make, though, they need to be referred to often to see the implications of each trade.

## 1.1	Cassegrain

### 1.1.1	Key instrument parameters (needs work)

- Pixel size: 1 arcsec

- Dispersion: 16.1 km/s per pixel

- Dispersion: 0.010 Angstroms/mm

### 1.1.2	Available wavelength bands and count rates

- The following three tables list the available emission lines in each of the three wavelength bands under consideration for quite Sun, active regions and flares.

## Cassegrain NRL1 Wavelength Band

| - Ion | - Wave | - Rate |
| --- | --- | --- |
| ### Quiet Sun |  |  |
| - Fe XII | - 193.521 | - 6.22 |
| - Fe XII | - 195.118 | - 11.40 |
| ### Active Region |  |  |
| - Fe XII | - 186.851 | - 10.58 |
| - Fe XII | - 186.884 | - 17.52 |
| - Fe XI | - 188.232 | - 41.68 |
| - Fe XI | - 188.299 | - 15.58 |
| - Fe X | - 190.043 | - 16.15 |
| - Fe XXIV | - 192.042 | - 10.06 |
| - Fe XII | - 192.393 | - 62.35 |
| - Ca XVII | - 192.819 | - 43.42 |
| - Fe XI | - 192.830 | - 21.64 |
| - Fe XII | - 193.521 | - 190.99 |
| - Ca XIV | - 193.866 | - 12.94 |
| - Fe XII | - 195.118 | - 349.72 |
| - Fe XII | - 195.131 | - 22.49 |
| - Fe XIII | - 196.540 | - 28.14 |
| - Fe XII | - 196.648 | - 34.20 |
| - Fe XIII | - 197.433 | - 13.79 |
| - Fe XIII | - 200.022 | - 24.53 |
| - Fe XIII | - 201.128 | - 18.65 |
| - Fe XIII | - 202.044 | - 36.40 |
| - Fe XIII | - 203.828 | - 17.56 |
| ### Flare |  |  |
| - Fe X | - 184.543 | - 18.61 |
| - Fe XI | - 184.803 | - 13.72 |
| - Ca XIV | - 186.610 | - 29.11 |
| - Fe XII | - 186.851 | - 87.33 |
| - Fe XII | - 186.884 | - 108.98 |
| - Fe XXI | - 187.892 | - 335.18 |
| - Ar XIV | - 187.969 | - 24.77 |
| - Fe XII | - 188.192 | - 40.40 |
| - Fe XI | - 188.232 | - 111.15 |
| - Fe XI | - 188.299 | - 47.48 |
| - S XI | - 188.675 | - 14.62 |
| - Fe XI | - 189.129 | - 24.67 |
| - Fe XI | - 189.719 | - 21.76 |
| - Fe X | - 190.043 | - 38.84 |
| - Fe XI | - 190.143 | - 11.38 |
| - Fe XII | - 190.489 | - 21.55 |
| - Fe XII | - 191.053 | - 121.21 |
| - S XI | - 191.266 | - 44.14 |
| - Ar XIV | - 191.361 | - 28.66 |
| - Fe XXIV | - 192.042 | - 52994.56 |
| - Fe XII | - 192.393 | - 162.47 |
| - O V | - 192.750 | - 34.48 |
| - O V | - 192.797 | - 74.49 |
| - O V | - 192.801 | - 25.98 |
| - Ca XVII | - 192.819 | - 2517.86 |
| - Fe XI | - 192.830 | - 57.77 |
| - O V | - 192.904 | - 157.49 |
| - O V | - 192.911 | - 25.18 |
| - Fe XI | - 193.514 | - 15.33 |
| - Fe XII | - 193.521 | - 430.97 |
| - Fe X | - 193.715 | - 10.76 |
| - Ca XIV | - 193.866 | - 203.95 |
| - Ni XVI | - 194.024 | - 29.66 |
| - Ar XIV | - 194.390 | - 82.54 |
| - Fe XII | - 194.609 | - 11.34 |
| - Fe XII | - 194.911 | - 11.17 |
| - Fe XII | - 195.118 | - 779.85 |
| - Fe XII | - 195.131 | - 192.88 |
| - Ni XVI | - 195.275 | - 10.10 |
| - Ni XV | - 195.536 | - 10.37 |
| - Fe XIII | - 196.540 | - 580.54 |
| - Fe XII | - 196.648 | - 226.21 |
| - Fe XII | - 196.873 | - 30.85 |
| - Fe XIII | - 197.433 | - 64.42 |
| - Fe XI | - 198.545 | - 35.04 |
| - S VIII | - 198.553 | - 27.65 |
| - Fe XII | - 198.558 | - 26.69 |
| - Fe XIII | - 200.022 | - 141.09 |
| - Fe XII | - 200.355 | - 24.95 |
| - Ca XV | - 200.977 | - 66.01 |
| - Fe XX | - 201.010 | - 17.28 |
| - Fe XII | - 201.116 | - 29.28 |
| - Fe XIII | - 201.128 | - 87.33 |
| - Fe XIII | - 202.044 | - 84.65 |
| - Fe XII | - 202.089 | - 14.55 |
| - Fe XIII | - 203.163 | - 13.58 |
| - Fe XIII | - 203.797 | - 33.38 |
| - Fe XIII | - 203.828 | - 98.76 |
| - Fe XIII | - 204.263 | - 16.40 |
| - Fe XVII | - 204.650 | - 71.45 |

## Cassegrain NRL2 Wavelength Band

| - Ion | - Wave | - Rate |
| --- | --- | --- |
| ### Quiet Sun |  |  |
| - He II | - 303.780 | - 18.32 |
| ### Active Region |  |  |
| - He II | - 303.780 | - 115.55 |
| - He II | - 303.786 | - 59.24 |
| - Mg VIII | - 315.039 | - 20.48 |
| - Si VIII | - 316.205 | - 14.24 |
| - Mg VII | - 319.027 | - 10.41 |
| - Si VIII | - 319.826 | - 28.27 |
| - Fe XIII | - 320.809 | - 11.19 |
| - Fe XVI | - 335.410 | - 84.16 |
| ### Flare |  |  |
| - Fe XV | - 284.160 | - 27.81 |
| - Ca XVIII | - 302.190 | - 312.70 |
| - Si XI | - 303.324 | - 70.07 |
| - He II | - 303.780 | - 28464.88 |
| - Fe XV | - 304.999 | - 14.76 |
| - O III | - 305.657 | - 13.38 |
| - O III | - 305.769 | - 24.04 |
| - O IV | - 306.621 | - 12.86 |
| - Fe XX | - 309.270 | - 10.32 |
| - C IV | - 312.420 | - 30.32 |
| - C IV | - 312.451 | - 15.22 |
| - Fe XV | - 312.539 | - 16.04 |
| - Mg VIII | - 313.754 | - 21.81 |
| - Si VIII | - 314.327 | - 14.04 |
| - Mg VI | - 314.647 | - 11.68 |
| - Mg VIII | - 315.039 | - 72.56 |
| - Si VIII | - 316.205 | - 32.11 |
| - Mg VIII | - 317.039 | - 21.49 |
| - Fe XIII | - 318.128 | - 43.33 |
| - Mg VII | - 319.027 | - 64.20 |
| - Si VIII | - 319.826 | - 62.88 |
| - Ni XVIII | - 320.565 | - 109.34 |
| - Fe XIII | - 320.809 | - 59.90 |
| - O III | - 320.976 | - 91.98 |
| - Mg IV | - 320.994 | - 83.86 |
| - Fe XIII | - 321.400 | - 10.62 |
| - Fe XV | - 321.802 | - 22.53 |
| - N IV | - 322.568 | - 14.84 |
| - N IV | - 322.718 | - 24.72 |
| - Mg IV | - 323.306 | - 42.13 |
| - Fe XVII | - 323.583 | - 69.38 |
| - Fe XV | - 327.011 | - 49.10 |
| - O III | - 328.447 | - 45.58 |
| - Fe XIV | - 334.172 | - 19.82 |
| - Fe XVI | - 335.410 | - 2353.63 |
| - Fe XXI | - 335.514 | - 37.35 |
| - Ca XVIII | - 344.760 | - 49.78 |
| - Ar XVI | - 353.920 | - 19.53 |
| - Fe XVI | - 360.761 | - 50.53 |

## Cassegrain Baseline Band

| - Ion | - Wave | - Rate |
| --- | --- | --- |
| ### Quiet Sun |  |  |
| - He II | - 256.317 | - 3.46 |
| ### Active Region |  |  |
| - Fe XIII | - 251.956 | - 14.99 |
| - He II | - 256.317 | - 17.99 |
| - S XIII | - 256.684 | - 11.23 |
| - Fe XIV | - 257.381 | - 12.25 |
| - Si X | - 258.372 | - 24.02 |
| - Fe XVI | - 262.984 | - 26.96 |
| - S X | - 264.230 | - 10.05 |
| - Fe XIV | - 264.780 | - 34.70 |
| - Fe XIV | - 270.507 | - 26.36 |
| - Fe XIV | - 274.200 | - 16.51 |
| - Si VII | - 275.353 | - 10.00 |
| - Fe XV | - 284.160 | - 75.58 |
| - He II | - 303.780 | - 24.32 |
| - He II | - 303.786 | - 12.45 |
| ### Flare |  |  |
| - Fe XV | - 233.869 | - 10.24 |
| - Ni XXVI | - 234.093 | - 56.87 |
| - He II | - 237.331 | - 14.14 |
| - He II | - 237.331 | - 28.24 |
| - O IV | - 238.360 | - 15.85 |
| - O IV | - 238.570 | - 28.73 |
| - Ni XXV | - 238.823 | - 15.27 |
| - Fe XXI | - 242.072 | - 22.64 |
| - He II | - 243.026 | - 83.96 |
| - He II | - 243.027 | - 41.81 |
| - Fe XV | - 243.790 | - 57.02 |
| - Si VI | - 246.004 | - 23.89 |
| - Fe XIII | - 246.211 | - 21.75 |
| - Fe XXI | - 246.987 | - 18.84 |
| - Fe XXII | - 247.160 | - 151.62 |
| - O V | - 248.461 | - 12.80 |
| - Si VI | - 249.124 | - 14.56 |
| - Ni XVII | - 249.177 | - 27.23 |
| - Fe XVI | - 251.074 | - 192.97 |
| - Fe XIII | - 251.956 | - 66.51 |
| - Fe XIV | - 252.191 | - 39.19 |
| - Fe XXII | - 253.156 | - 121.34 |
| - Si X | - 253.788 | - 14.47 |
| - Fe XVII | - 254.530 | - 20.40 |
| - Fe XVII | - 254.868 | - 185.23 |
| - Fe XXIV | - 255.102 | - 5564.74 |
| - He II | - 256.317 | - 6168.44 |
| - Si X | - 256.384 | - 29.45 |
| - Fe XIII | - 256.422 | - 48.31 |
| - S XIII | - 256.684 | - 205.93 |
| - Fe XIV | - 257.381 | - 73.64 |
| - Si IX | - 258.080 | - 30.67 |
| - Si X | - 258.372 | - 107.14 |
| - S X | - 259.496 | - 16.56 |
| - Fe XVII | - 259.711 | - 14.32 |
| - O IV | - 260.389 | - 14.99 |
| - O IV | - 260.556 | - 10.44 |
| - Si X | - 261.063 | - 35.72 |
| - Fe XVII | - 262.681 | - 15.92 |
| - Fe XVI | - 262.984 | - 768.74 |
| - Fe XXIII | - 263.762 | - 2021.76 |
| - S X | - 264.230 | - 32.35 |
| - Fe XIV | - 264.780 | - 380.10 |
| - Ni XXIV | - 264.831 | - 12.89 |
| - Fe XVI | - 265.014 | - 81.48 |
| - Fe XVII | - 266.420 | - 38.32 |
| - O IV | - 266.931 | - 11.48 |
| - Mg VI | - 268.991 | - 33.05 |
| - Fe XVII | - 269.410 | - 74.90 |
| - Fe XVII | - 269.880 | - 18.48 |
| - Mg VI | - 270.390 | - 61.97 |
| - Fe XIV | - 270.507 | - 157.98 |
| - Fe XXI | - 270.565 | - 109.43 |
| - Si X | - 271.983 | - 32.80 |
| - Si VII | - 272.638 | - 16.23 |
| - Si VII | - 274.174 | - 12.26 |
| - Fe XIV | - 274.200 | - 91.99 |
| - Si VII | - 275.353 | - 42.34 |
| - Fe XVII | - 275.543 | - 20.90 |
| - Mg V | - 276.582 | - 41.29 |
| - Fe XVII | - 276.797 | - 22.74 |
| - Si VIII | - 276.838 | - 19.81 |
| - Mg VII | - 277.000 | - 13.78 |
| - Si VIII | - 277.054 | - 25.88 |
| - Si X | - 277.255 | - 15.55 |
| - Mg VII | - 278.402 | - 19.27 |
| - Fe XVII | - 279.213 | - 32.86 |
| - Fe XVII | - 280.143 | - 22.82 |
| - Mg VII | - 280.737 | - 13.20 |
| - Fe XV | - 284.160 | - 1009.22 |
| - Fe XVII | - 284.172 | - 15.40 |
| - Ni XVIII | - 291.984 | - 19.44 |
| - Fe XXII | - 292.453 | - 32.16 |
| - Ca XVIII | - 302.190 | - 96.85 |
| - Si XI | - 303.324 | - 16.45 |
| - He II | - 303.780 | - 5990.60 |
| - Fe XVI | - 335.410 | - 25.24 |

## 1.1

## 1.2	Off axis paraboloid

### 1.2.1	Key instrument parameters (needs work)

- Pixel size: 1.86 arcsec

- Dispersion: ? km/s per pixel

- Dispersion: ? Angstroms/mm

### 1.2.2	Available wavelength bands and count rates

- The following three tables list the available emission lines in each of the three wavelength bands under consideration for quite Sun, active regions and flares.  It is important to keep in mind the 2 arcsec pixel size used in computing these tables.  The numbers assume that the region being observed by the 2 arcsec pixel is filled with emitting material.  TRACE observations suggest that it would be prudent to think in terms of a 2 arcsec pixel observing a 1 arcsec feature.  Thus, one should seriously consider reducing the rates in the tables by a factor of 4.

### 1.1.1

## OAP NRL1 Wavelength Band

| - Ion | - Wave | - Rate |
| --- | --- | --- |
| ### Quiet Sun |  |  |
| - Fe XI | - 180.408 | - 5.34 |
| - Fe X | - 184.543 | - 9.85 |
| - Fe XII | - 186.851 | - 4.51 |
| - Fe XII | - 186.884 | - 8.51 |
| - Fe XI | - 188.232 | - 29.75 |
| - Fe XI | - 188.299 | - 11.02 |
| - Fe X | - 190.043 | - 11.00 |
| - Fe XII | - 192.393 | - 22.17 |
| - Fe XI | - 192.830 | - 11.53 |
| - Fe XII | - 193.521 | - 65.86 |
| - Fe XII | - 195.118 | - 117.31 |
| - Fe XII | - 195.131 | - 5.85 |
| - Fe XIII | - 196.540 | - 4.40 |
| - Fe XII | - 196.648 | - 10.22 |
| - Fe XI | - 198.545 | - 3.08 |
| - S VIII | - 198.553 | - 7.07 |
| - Fe XIII | - 200.022 | - 5.95 |
| - Fe XIII | - 201.128 | - 5.67 |
| - Fe XIII | - 202.044 | - 15.61 |
| - Fe XIII | - 203.828 | - 7.48 |
| ### Active Region |  |  |
| - Fe X | - 174.534 | - 21.92 |
| - Fe X | - 177.243 | - 29.92 |
| - Fe X | - 180.407 | - 19.59 |
| - Fe XI | - 180.408 | - 107.50 |
| - Fe XI | - 181.137 | - 13.03 |
| - Fe XI | - 182.169 | - 45.35 |
| - Fe X | - 184.543 | - 181.50 |
| - Fe XI | - 184.803 | - 23.04 |
| - Ca XIV | - 186.610 | - 32.02 |
| - Fe XII | - 186.851 | - 178.22 |
| - Fe XII | - 186.884 | - 294.01 |
| - Fe XXI | - 187.892 | - 10.32 |
| - Ar XIV | - 187.969 | - 15.71 |
| - Fe XII | - 188.192 | - 19.71 |
| - Fe XI | - 188.232 | - 605.22 |
| - Fe XI | - 188.299 | - 224.75 |
| - Fe XII | - 188.447 | - 13.92 |
| - S XI | - 188.675 | - 32.57 |
| - Ar XI | - 188.811 | - 25.05 |
| - Fe XI | - 189.129 | - 60.25 |
| - Fe XI | - 189.719 | - 50.73 |
| - Fe X | - 190.043 | - 202.40 |
| - Fe XII | - 190.071 | - 40.00 |
| - Fe XI | - 190.143 | - 23.21 |
| - Fe XII | - 191.053 | - 39.49 |
| - S XI | - 191.266 | - 81.65 |
| - Ar XIV | - 191.361 | - 17.56 |
| - Fe XXIV | - 192.042 | - 112.46 |
| - Fe XII | - 192.393 | - 686.66 |
| - Ca XVII | - 192.819 | - 470.24 |
| - Fe XI | - 192.830 | - 234.25 |
| - Fe XI | - 192.900 | - 19.95 |
| - O V | - 192.904 | - 28.89 |
| - Fe XI | - 193.514 | - 53.35 |
| - Fe XII | - 193.521 | - 2022.33 |
| - Fe X | - 193.715 | - 19.93 |
| - Ca XIV | - 193.866 | - 135.77 |
| - Ar XI | - 194.109 | - 13.82 |
| - Ar XIV | - 194.390 | - 56.53 |
| - Fe XII | - 194.609 | - 34.00 |
| - Fe XII | - 194.911 | - 17.36 |
| - Fe XII | - 195.118 | - 3599.51 |
| - Fe XII | - 195.131 | - 231.45 |
| - Fe X | - 195.389 | - 21.21 |
| - Fe XIII | - 196.540 | - 291.93 |
| - Fe XII | - 196.648 | - 355.55 |
| - Fe XII | - 196.873 | - 37.67 |
| - Fe XIII | - 197.433 | - 146.97 |
| - Fe XI | - 198.545 | - 72.12 |
| - S VIII | - 198.553 | - 81.28 |
| - Fe XII | - 198.558 | - 12.88 |
| - Fe XI | - 199.175 | - 15.10 |
| - Fe XIII | - 200.022 | - 323.78 |
| - Fe XII | - 200.355 | - 11.80 |
| - Ca XV | - 200.977 | - 63.94 |
| - Fe XII | - 201.116 | - 19.16 |
| - Fe XIII | - 201.128 | - 288.71 |
| - Fe XI | - 201.576 | - 36.73 |
| - Fe XIII | - 202.044 | - 654.53 |
| - Fe XI | - 202.448 | - 20.30 |
| - S VIII | - 202.610 | - 12.43 |
| - Fe XI | - 202.706 | - 46.27 |
| - Fe XIII | - 203.163 | - 60.47 |
| - Fe XII | - 203.272 | - 40.75 |
| - Fe XIII | - 203.797 | - 135.94 |
| - Fe XIII | - 203.828 | - 412.65 |
| - Fe XIII | - 204.263 | - 53.88 |
| - Fe XVII | - 204.650 | - 32.38 |
| - Fe XI | - 204.759 | - 30.04 |
| - Fe XIII | - 204.945 | - 28.78 |
| - Fe XII | - 206.371 | - 19.25 |
| - Fe XI | - 207.777 | - 14.03 |
| - Fe XIII | - 209.621 | - 24.67 |
| - Fe XIII | - 209.919 | - 21.06 |
| - Fe XIV | - 211.320 | - 86.88 |
| - Fe XII | - 211.732 | - 14.65 |
| - Fe XIII | - 213.771 | - 13.20 |
| - Fe XIV | - 219.136 | - 11.55 |
| ### Flare |  |  |
| - Fe X | - 174.534 | - 51.64 |
| - Fe X | - 177.243 | - 66.59 |
| - Fe XI | - 179.764 | - 98.08 |
| - Fe XXIII | - 180.044 | - 95.19 |
| - Fe X | - 180.407 | - 66.89 |
| - Fe XI | - 180.408 | - 265.46 |
| - Fe XI | - 181.137 | - 56.38 |
| - Fe XI | - 182.169 | - 185.29 |
| - Ca XIV | - 183.460 | - 96.31 |
| - O VI | - 183.937 | - 51.47 |
| - O VI | - 184.117 | - 110.20 |
| - Fe XXII | - 184.182 | - 151.23 |
| - Fe XI | - 184.412 | - 54.65 |
| - Fe X | - 184.543 | - 435.90 |
| - Fe XI | - 184.803 | - 308.28 |
| - Ni XVI | - 185.230 | - 97.01 |
| - Fe XIII | - 185.769 | - 73.24 |
| - Ca XIV | - 186.610 | - 505.16 |
| - Fe XII | - 186.851 | - 1471.48 |
| - Fe XII | - 186.884 | - 1829.07 |
| - Fe XXI | - 187.892 | - 5031.92 |
| - Ar XIV | - 187.969 | - 369.01 |
| - Fe XII | - 188.192 | - 588.83 |
| - Fe XI | - 188.232 | - 1613.92 |
| - Fe XI | - 188.299 | - 685.08 |
| - Fe XII | - 188.447 | - 114.90 |
| - S XI | - 188.675 | - 203.86 |
| - Ar XI | - 188.811 | - 130.10 |
| - Fe XI | - 189.129 | - 330.92 |
| - Ni XV | - 189.243 | - 65.13 |
| - Fe XI | - 189.719 | - 279.00 |
| - Fe X | - 190.043 | - 486.61 |
| - Fe XII | - 190.071 | - 122.66 |
| - Fe XI | - 190.143 | - 141.64 |
| - S XI | - 190.355 | - 66.48 |
| - Fe XII | - 190.489 | - 262.11 |
| - Fe XII | - 191.053 | - 1424.99 |
| - S XI | - 191.266 | - 512.77 |
| - Ar XIV | - 191.361 | - 331.26 |
| - Fe XV | - 191.408 | - 54.91 |
| - Fe XXIV | - 192.042 | - 592435.94 |
| - Fe XII | - 192.393 | - 1789.19 |
| - O V | - 192.750 | - 374.41 |
| - O V | - 192.797 | - 807.37 |
| - O V | - 192.801 | - 281.60 |
| - Ca XVII | - 192.819 | - 27269.64 |
| - Fe XI | - 192.830 | - 625.38 |
| - Fe XI | - 192.900 | - 60.72 |
| - O V | - 192.904 | - 1700.41 |
| - O V | - 192.911 | - 271.78 |
| - S X | - 193.477 | - 54.28 |
| - Fe XI | - 193.514 | - 162.32 |
| - Fe XII | - 193.521 | - 4563.41 |
| - Ar XII | - 193.680 | - 95.64 |
| - Fe X | - 193.715 | - 113.33 |
| - Ca XIV | - 193.866 | - 2140.17 |
| - Ni XVI | - 194.024 | - 310.15 |
| - Ar XI | - 194.109 | - 71.84 |
| - Ar XIV | - 194.390 | - 856.93 |
| - Fe XII | - 194.609 | - 117.30 |
| - Fe XII | - 194.911 | - 115.18 |
| - Fe XII | - 195.118 | - 8026.59 |
| - Fe XII | - 195.131 | - 1985.02 |
| - Ni XVI | - 195.275 | - 103.90 |
| - Fe X | - 195.389 | - 94.36 |
| - Ni XV | - 195.536 | - 106.58 |
| - Fe XIII | - 196.540 | - 6021.52 |
| - Fe XII | - 196.648 | - 2351.87 |
| - S X | - 196.814 | - 67.24 |
| - Fe XII | - 196.873 | - 322.63 |
| - Fe XIII | - 197.433 | - 686.61 |
| - Fe XI | - 198.545 | - 398.29 |
| - S VIII | - 198.553 | - 314.55 |
| - Fe XII | - 198.558 | - 303.74 |
| - Fe XI | - 199.175 | - 67.53 |
| - Fe XIII | - 200.022 | - 1862.70 |
| - Fe XII | - 200.355 | - 344.32 |
| - Ca XV | - 200.977 | - 997.88 |
| - Fe XX | - 201.010 | - 262.59 |
| - Fe XII | - 201.116 | - 452.42 |
| - Fe XIII | - 201.128 | - 1351.99 |
| - Fe XI | - 201.576 | - 108.67 |
| - Fe XIII | - 202.044 | - 1522.04 |
| - Fe XII | - 202.089 | - 263.56 |
| - Fe XI | - 202.448 | - 53.88 |
| - Fe XI | - 202.706 | - 140.91 |
| - Fe XIII | - 203.163 | - 291.40 |
| - Fe XII | - 203.272 | - 204.63 |
| - Fe XIII | - 203.797 | - 781.38 |
| - Fe XIII | - 203.828 | - 2321.14 |
| - Fe XIII | - 204.263 | - 406.52 |
| - Fe XVII | - 204.650 | - 1850.07 |
| - Fe XI | - 204.759 | - 144.11 |
| - Fe XIII | - 204.945 | - 135.10 |
| - Fe XII | - 206.371 | - 59.10 |
| - Ca XV | - 208.329 | - 50.85 |
| - Ca XVI | - 208.585 | - 304.33 |
| - Ca XV | - 208.716 | - 50.01 |
| - Fe XIII | - 209.621 | - 162.94 |
| - Fe XIV | - 211.320 | - 421.45 |
| - Fe XII | - 211.732 | - 50.56 |
| - Fe XIII | - 213.771 | - 86.95 |
| - Fe XXII | - 217.293 | - 70.80 |
| - Fe XIV | - 219.136 | - 226.25 |
| - Ar XV | - 221.151 | - 124.47 |
| - Fe XIII | - 221.827 | - 69.41 |

## OAP NRL2 Wavelength Band

| - Ion | - Wave | - Rate |
| --- | --- | --- |
| ### Quiet Sun |  |  |
| - Si XI | - 303.324 | - 4.84 |
| - He II | - 303.780 | - 485.59 |
| - Mg VIII | - 311.796 | - 4.11 |
| - Mg VIII | - 313.754 | - 8.69 |
| - Si VIII | - 314.327 | - 8.41 |
| - Mg VIII | - 315.039 | - 27.35 |
| - Si VIII | - 316.205 | - 18.08 |
| - Mg VIII | - 317.039 | - 7.66 |
| - Mg VII | - 319.027 | - 12.94 |
| - Si VIII | - 319.826 | - 33.06 |
| ### Active Region |  |  |
| - Fe XV | - 284.160 | - 161.08 |
| - Si IX | - 296.117 | - 27.65 |
| - Ca XVIII | - 302.190 | - 57.31 |
| - Fe XIII | - 303.301 | - 14.37 |
| - Si XI | - 303.324 | - 268.89 |
| - He II | - 303.780 | - 3062.98 |
| - He II | - 303.786 | - 1569.79 |
| - Fe XV | - 304.999 | - 10.04 |
| - Fe XI | - 308.548 | - 10.25 |
| - Fe XIII | - 311.552 | - 12.03 |
| - Mg VIII | - 311.796 | - 48.37 |
| - Fe XIII | - 312.109 | - 47.53 |
| - Fe XV | - 312.539 | - 18.61 |
| - Fe XIII | - 312.872 | - 27.30 |
| - Mg VIII | - 313.754 | - 101.54 |
| - Si VIII | - 314.327 | - 99.78 |
| - Mg VI | - 314.562 | - 10.71 |
| - Mg VI | - 314.669 | - 19.00 |
| - Mg VIII | - 315.039 | - 320.38 |
| - Si VIII | - 316.205 | - 214.48 |
| - Mg VIII | - 317.039 | - 89.42 |
| - Fe XIII | - 318.128 | - 32.94 |
| - Mg VII | - 319.027 | - 145.90 |
| - Si VIII | - 319.826 | - 390.66 |
| - Mg VII | - 320.512 | - 16.54 |
| - Ni XVIII | - 320.565 | - 60.94 |
| - Fe XIII | - 320.809 | - 152.53 |
| - Mg IV | - 320.994 | - 13.35 |
| - Fe XIII | - 321.400 | - 40.44 |
| - Fe XVII | - 323.583 | - 16.63 |
| - Fe X | - 324.763 | - 27.42 |
| - Fe XV | - 327.011 | - 47.47 |
| - Fe X | - 331.472 | - 12.19 |
| - Al X | - 332.789 | - 34.72 |
| - Fe XIV | - 334.172 | - 91.51 |
| - Mg VIII | - 335.253 | - 25.69 |
| - Fe XII | - 335.339 | - 10.20 |
| - Fe XVI | - 335.410 | - 1942.29 |
| - Mg VIII | - 339.006 | - 19.62 |
| - Ca XVIII | - 344.760 | - 12.30 |
| - Si IX | - 345.124 | - 16.85 |
| - Si X | - 347.403 | - 19.90 |
| - Fe XIII | - 348.183 | - 10.41 |
| - Si IX | - 349.873 | - 18.68 |
| - Fe XII | - 352.106 | - 10.76 |
| - Fe XI | - 352.662 | - 10.08 |
| - Si X | - 356.012 | - 15.26 |
| - Fe XVI | - 360.761 | - 115.33 |
| - Mg IX | - 368.070 | - 25.66 |
| ### Flare |  |  |
| - Fe XV | - 284.160 | - 2150.82 |
| - Ni XVIII | - 291.984 | - 231.08 |
| - Fe XXII | - 292.453 | - 421.86 |
| - Ca XVIII | - 302.190 | - 9055.46 |
| - Si XI | - 303.324 | - 1904.35 |
| - He II | - 303.780 | - 754538.31 |
| - O III | - 303.802 | - 194.67 |
| - Fe XV | - 304.999 | - 366.12 |
| - O III | - 305.597 | - 143.14 |
| - O III | - 305.657 | - 320.35 |
| - O III | - 305.769 | - 572.17 |
| - O IV | - 306.621 | - 292.65 |
| - O IV | - 306.884 | - 166.57 |
| - Fe XI | - 308.548 | - 101.92 |
| - Fe XX | - 309.270 | - 205.84 |
| - Mg VIII | - 311.796 | - 171.00 |
| - Fe XIII | - 312.109 | - 168.96 |
| - C IV | - 312.420 | - 524.17 |
| - C IV | - 312.451 | - 262.72 |
| - Fe XV | - 312.539 | - 275.94 |
| - Fe XIII | - 312.872 | - 129.97 |
| - Mg VIII | - 313.754 | - 357.53 |
| - Si VIII | - 314.327 | - 225.25 |
| - Mg VI | - 314.540 | - 103.90 |
| - Mg VI | - 314.647 | - 185.16 |
| - Mg VIII | - 315.039 | - 1135.01 |
| - Si VIII | - 316.205 | - 483.63 |
| - Mg VIII | - 317.039 | - 315.74 |
| - Fe XIII | - 318.128 | - 619.08 |
| - Mg VII | - 319.027 | - 899.69 |
| - Si VIII | - 319.826 | - 868.96 |
| - Mg VII | - 320.512 | - 109.43 |
| - Ni XVIII | - 320.565 | - 1495.31 |
| - Fe XIII | - 320.809 | - 816.76 |
| - O III | - 320.976 | - 1251.96 |
| - Mg IV | - 320.994 | - 1141.20 |
| - Fe XIII | - 321.400 | - 144.03 |
| - Fe XV | - 321.802 | - 304.60 |
| - N IV | - 322.568 | - 200.12 |
| - N IV | - 322.718 | - 333.27 |
| - Mg IV | - 323.306 | - 568.40 |
| - Fe XVII | - 323.583 | - 936.96 |
| - Fe XV | - 327.011 | - 702.60 |
| - O III | - 328.447 | - 685.98 |
| - O III | - 328.740 | - 137.88 |
| - Al X | - 332.789 | - 151.52 |
| - Fe XIV | - 334.172 | - 418.20 |
| - Fe XVI | - 335.410 | - 54316.77 |
| - Fe XXI | - 335.514 | - 868.39 |
| - Fe XVII | - 340.402 | - 104.36 |
| - Ca XVIII | - 344.760 | - 1942.53 |
| - Fe XVII | - 347.850 | - 127.95 |
| - Fe XVII | - 350.496 | - 140.89 |
| - Ar XVI | - 353.920 | - 1006.92 |
| - Fe XVI | - 360.761 | - 3217.66 |

## OAP Baseline Wavelength Band

| - Ion | - Wave | - Rate |
| --- | --- | --- |
| ### Quiet Sun |  |  |
| - Fe IX | - 241.739 | - 5.62 |
| - Fe IX | - 244.909 | - 3.91 |
| - Si VI | - 246.004 | - 4.42 |
| - Fe XIII | - 251.956 | - 5.82 |
| - He II | - 256.317 | - 59.01 |
| - Si X | - 256.384 | - 4.29 |
| - Fe X | - 257.239 | - 3.98 |
| - Si X | - 258.372 | - 12.70 |
| - Si X | - 261.063 | - 4.69 |
| - S X | - 264.230 | - 4.77 |
| - Fe XIV | - 264.780 | - 5.36 |
| - Mg VI | - 268.991 | - 4.91 |
| - Mg VI | - 270.390 | - 9.04 |
| - Fe XIV | - 270.507 | - 4.42 |
| - Si X | - 271.983 | - 4.06 |
| - Si VII | - 272.638 | - 5.49 |
| - Si VII | - 274.174 | - 4.19 |
| - Si VII | - 275.353 | - 16.89 |
| - Si VIII | - 276.838 | - 5.72 |
| - Si VII | - 276.839 | - 3.06 |
| - Mg VII | - 277.000 | - 5.78 |
| - Si VIII | - 277.054 | - 7.22 |
| - Mg VII | - 278.402 | - 8.60 |
| - Si VII | - 278.443 | - 4.17 |
| - Mg VII | - 280.737 | - 3.48 |
| - Fe XV | - 284.160 | - 8.80 |
| - He II | - 303.780 | - 171.81 |
| ### Active Region |  |  |
| - Fe XIV | - 211.320 | - 13.92 |
| - Fe XIV | - 219.136 | - 11.27 |
| - Fe XIII | - 221.827 | - 15.59 |
| - Si IX | - 225.024 | - 12.18 |
| - Si IX | - 227.000 | - 25.37 |
| - Fe XIII | - 228.159 | - 16.46 |
| - O IV | - 238.570 | - 11.65 |
| - Fe XIII | - 240.696 | - 33.84 |
| - Fe IX | - 241.739 | - 52.95 |
| - He II | - 243.026 | - 15.14 |
| - Fe XV | - 243.790 | - 100.94 |
| - Fe IX | - 244.909 | - 41.61 |
| - Si VI | - 246.004 | - 42.92 |
| - Fe XIII | - 246.211 | - 110.99 |
| - S XI | - 246.895 | - 15.64 |
| - Si VI | - 249.124 | - 23.92 |
| - Ni XVII | - 249.177 | - 38.37 |
| - Fe XVI | - 251.074 | - 133.09 |
| - Fe XIII | - 251.956 | - 288.32 |
| - Fe XIV | - 252.191 | - 68.51 |
| - Si X | - 253.788 | - 59.66 |
| - Fe XVII | - 254.868 | - 57.38 |
| - Fe XXIV | - 255.102 | - 18.64 |
| - Fe X | - 256.197 | - 61.94 |
| - He II | - 256.317 | - 307.09 |
| - He II | - 256.318 | - 153.55 |
| - Si X | - 256.384 | - 126.75 |
| - Fe XIII | - 256.422 | - 74.07 |
| - S XIII | - 256.684 | - 189.90 |
| - S X | - 257.146 | - 38.49 |
| - Fe X | - 257.285 | - 30.69 |
| - Fe XIV | - 257.381 | - 203.50 |
| - Fe XI | - 257.547 | - 19.56 |
| - Si IX | - 258.080 | - 44.20 |
| - Si X | - 258.372 | - 389.70 |
| - S X | - 259.496 | - 81.23 |
| - Si X | - 261.063 | - 138.04 |
| - Fe XVI | - 262.984 | - 396.02 |
| - Fe XXIII | - 263.762 | - 13.50 |
| - S X | - 264.230 | - 144.51 |
| - Fe XIV | - 264.780 | - 495.16 |
| - Fe XVI | - 265.014 | - 40.31 |
| - Mg VI | - 268.989 | - 54.65 |
| - Fe XVII | - 269.410 | - 18.38 |
| - Mg VI | - 270.391 | - 100.96 |
| - Mg VI | - 270.404 | - 13.80 |
| - Fe XIV | - 270.507 | - 372.49 |
| - Si X | - 271.983 | - 119.48 |
| - Si VII | - 272.638 | - 53.81 |
| - Si VII | - 274.174 | - 41.88 |
| - Fe XIV | - 274.200 | - 256.30 |
| - Si VII | - 275.353 | - 162.07 |
| - Si VII | - 275.667 | - 25.34 |
| - Mg VII | - 276.154 | - 20.22 |
| - Mg V | - 276.582 | - 26.78 |
| - Si VIII | - 276.838 | - 74.77 |
| - Si VII | - 276.839 | - 30.23 |
| - Mg VII | - 277.000 | - 56.43 |
| - Si VIII | - 277.054 | - 92.55 |
| - Si X | - 277.255 | - 68.19 |
| - Mg VII | - 278.402 | - 83.90 |
| - Si VII | - 278.443 | - 39.96 |
| - Fe XVII | - 279.213 | - 10.76 |
| - Mg VII | - 280.737 | - 40.41 |
| - S XI | - 281.401 | - 13.48 |
| - Al IX | - 284.042 | - 12.07 |
| - Fe XV | - 284.160 | - 1765.50 |
| - S XI | - 285.822 | - 13.08 |
| - S XII | - 288.434 | - 15.41 |
| - Si IX | - 290.690 | - 12.41 |
| - Fe XII | - 291.053 | - 11.01 |
| - Ni XVIII | - 291.984 | - 24.74 |
| - Si IX | - 292.763 | - 11.38 |
| - Si IX | - 292.800 | - 12.02 |
| - Si IX | - 292.856 | - 10.14 |
| - Si IX | - 296.117 | - 35.51 |
| - Si IX | - 296.213 | - 10.40 |
| - Ca XVIII | - 302.190 | - 26.23 |
| - Si XI | - 303.324 | - 102.32 |
| - He II | - 303.780 | - 1083.72 |
| - He II | - 303.786 | - 554.88 |
| - Mg VIII | - 315.039 | - 22.68 |
| - Si VIII | - 316.205 | - 13.24 |
| - Si VIII | - 319.826 | - 16.64 |
| - Fe XVI | - 335.410 | - 94.44 |
| ### Flare |  |  |
| - Fe XIV | - 219.136 | - 220.72 |
| - Ar XV | - 221.151 | - 184.48 |
| - Fe XIII | - 221.827 | - 117.58 |
| - Fe XIII | - 228.159 | - 108.43 |
| - O IV | - 233.562 | - 145.44 |
| - Fe XV | - 233.869 | - 352.07 |
| - Ni XXVI | - 234.093 | - 1937.73 |
| - He II | - 237.331 | - 427.87 |
| - He II | - 237.331 | - 854.13 |
| - O IV | - 238.360 | - 462.84 |
| - O IV | - 238.570 | - 833.19 |
| - Ni XXV | - 238.823 | - 438.89 |
| - Fe XIII | - 240.696 | - 150.08 |
| - Fe XXI | - 242.072 | - 583.94 |
| - He II | - 243.026 | - 2100.36 |
| - He II | - 243.027 | - 1045.81 |
| - Ar XIV | - 243.740 | - 139.90 |
| - Fe XV | - 243.790 | - 1391.11 |
| - Fe IX | - 244.909 | - 195.89 |
| - Si VI | - 246.004 | - 544.50 |
| - Fe XIII | - 246.211 | - 492.87 |
| - S XI | - 246.895 | - 128.02 |
| - Fe XXI | - 246.987 | - 417.46 |
| - Fe XXII | - 247.160 | - 3343.79 |
| - O V | - 248.461 | - 271.75 |
| - Si VI | - 249.124 | - 303.47 |
| - Ni XVII | - 249.177 | - 566.60 |
| - Fe XVI | - 251.074 | - 3804.89 |
| - Fe XIII | - 251.956 | - 1279.09 |
| - Fe XIV | - 252.191 | - 748.85 |
| - Fe XXII | - 253.156 | - 2257.53 |
| - Si X | - 253.788 | - 264.52 |
| - Fe XVII | - 254.530 | - 365.32 |
| - Fe XVII | - 254.868 | - 3287.60 |
| - Fe XXIV | - 255.102 | - 98143.82 |
| - He II | - 256.317 | - 105288.88 |
| - Si X | - 256.384 | - 501.72 |
| - Fe XIII | - 256.422 | - 822.28 |
| - S XIII | - 256.684 | - 3481.22 |
| - S X | - 257.146 | - 124.34 |
| - Fe XIV | - 257.381 | - 1223.32 |
| - Si IX | - 258.080 | - 501.11 |
| - Si X | - 258.372 | - 1738.10 |
| - S X | - 259.496 | - 261.63 |
| - Fe XVII | - 259.711 | - 225.19 |
| - O IV | - 260.389 | - 232.18 |
| - O IV | - 260.556 | - 161.15 |
| - Si X | - 261.063 | - 545.32 |
| - Fe XVII | - 262.681 | - 235.14 |
| - Fe XVI | - 262.984 | - 11290.64 |
| - Fe XXIII | - 263.762 | - 29294.44 |
| - S X | - 264.230 | - 465.23 |
| - Fe XIV | - 264.780 | - 5423.19 |
| - Ni XXIV | - 264.831 | - 183.85 |
| - Fe XVI | - 265.014 | - 1158.84 |
| - Fe XVII | - 266.420 | - 536.43 |
| - O IV | - 266.931 | - 160.14 |
| - O IV | - 266.981 | - 102.21 |
| - Mg VI | - 268.991 | - 460.01 |
| - Fe XVII | - 269.410 | - 1045.21 |
| - Fe XVII | - 269.880 | - 259.00 |
| - Mg VI | - 270.390 | - 874.03 |
| - Mg VI | - 270.400 | - 118.72 |
| - Fe XIV | - 270.507 | - 2231.93 |
| - Fe XXI | - 270.565 | - 1547.39 |
| - Si X | - 271.983 | - 476.80 |
| - O IV | - 272.127 | - 111.90 |
| - Si VII | - 272.638 | - 239.97 |
| - Si VII | - 274.174 | - 190.21 |
| - Fe XIV | - 274.200 | - 1428.29 |
| - Si VII | - 275.353 | - 686.13 |
| - Fe XVII | - 275.543 | - 341.26 |
| - Si VII | - 275.667 | - 112.69 |
| - Mg V | - 276.582 | - 702.49 |
| - Fe XVII | - 276.797 | - 390.33 |
| - Si VIII | - 276.838 | - 340.58 |
| - Si VII | - 276.839 | - 134.41 |
| - Mg VII | - 277.000 | - 238.44 |
| - Si VIII | - 277.054 | - 448.92 |
| - Si X | - 277.255 | - 271.99 |
| - Mg VII | - 278.402 | - 353.83 |
| - Si VII | - 278.443 | - 169.45 |
| - Fe XVII | - 279.213 | - 624.32 |
| - Fe XVII | - 280.143 | - 451.25 |
| - Mg VII | - 280.737 | - 267.51 |
| - N IV | - 283.574 | - 138.04 |
| - Fe XV | - 284.160 | - 23573.98 |
| - Fe XVII | - 284.172 | - 359.84 |
| - Ni XVIII | - 291.984 | - 610.29 |
| - Fe XXII | - 292.453 | - 1025.70 |
| - Si IX | - 296.117 | - 108.80 |
| - Ca XVIII | - 302.190 | - 4145.32 |
| - Si XI | - 303.324 | - 724.67 |
| - He II | - 303.780 | - 266965.47 |
| - Fe XV | - 304.999 | - 106.91 |
| - O III | - 305.769 | - 148.24 |
| - Fe XVI | - 335.410 | - 2641.13 |
| - Ca XVIII | - 344.760 | - 155.18 |

# 2.	Scientific considerations

## 2.1	Overview

- With the exception of the He II 304 Angstrom line, none of the proposed wavelength bands contains strong transition region lines.  Thus, EIS is by definition an instrument whose primary goal is coronal science.  Moreover, based on the counting rates tabulated above, EIS will be at its best in active regions and flares.  I believe that active region science should be the primary science driver in selecting an optical configuration and wavelength bands.  Flares should be the secondary science driver—mostly because they will be relatively infrequent at the time Solar-B flies.  Quiet region science, including coronal holes, is then the tertiary science driver.  Here I summarize what I think should be the primary science capabilities for each science driver.

- This section is very much a work in progress.  Right now (28 February 1999) it represents only my thoughts, and I am sure there are errors that will need to be corrected.  I have put nothing in the flare requirements table and know we need to converge on what goes in the other tables.  The goal here is to help drive the discussion using agreed upon instrument information and agreed upon science requirements.

## 2.2	Active region science

### 2.2.1	Active region science requirements table

| - Requirement | - Value | - Science Drivers |
| --- | --- | --- |
| - Spatial Resolution |  |  |
| - Pixel Size | - 1 arcsec or less | - Apparent diameter of many loops seen in TRACE is at resolution of 1 arcsec. |
| - Field of View | - 5 arcmin, but could be as small as 2 for some observations | - TRACE observations show that heating in active region loops takes place in the first 10,000 to 20,000 km (14 to 30 arcsec). - Typical active region sizes are 5 arcmin. |
| - Spectral Resolution |  |  |
| - Velocity Resolution | - <2 km/s | - TRACE observations show features in long-lived loops with propagation speeds of up to 10 km/s. - Features in active region loops observed by TRACE show velocities of 55 to 80 km/s. |
| - Line broadening | - <5 km/s | - Active region line profiles are know to show nonthermal line broadening of on the order of 20 km/s at coronal temperatures. |
| - Complex line profiles |  | - Not sure what to expect in active regions. |
| - Temporal resolution |  |  |
| - Minimum time for spectrum | - 5 s (1 arcsec slit) - 10 s (2 arcsec slit) | - A feature in a loop traveling at 100 km/s would travel 1 arcsec every 7.25 s. - Typical coronal sound speed 150 km/s. A feature traveling at this speed would cover 1 arcsec in about 5 s. - TRACE active region observations suggest that coronal heating is modulated on timescales of minutes or less. |
| - Minimum time for spectroheliogram | - <10 min | - TRACE observations seem to show heating lasts for tens of minutes and then cuts off, suggesting that a relatively long time for a spectroheliogram would be reasonable. - TRACE observations show loops evolve on timescales of tens of minutes. - Conductive timescale for a coronal loop is on the order of 15 min. |
| - Temperature coverage | - min below 600,000K - max at least 5 MK | - Hot cores of active regions show temperatures of 3 to 5 MK - Active regions display large loops in the 1 to 2 MK temperature range. - Need at least one transition region line to connect with magnetograms. CDS observations suggest that any line formed below about 600,000 K is fine. |

## 2.3	Flare science

### 2.3.1	Flare science requirements table

| - Requirement | - Value | - Science Drivers |
| --- | --- | --- |
| - Spatial Resolution |  |  |
| - Pixel Size |  |  |
| - Field of View |  |  |
| - Spectral Resolution |  |  |
| - Velocity Resolution |  |  |
| - Line broadening |  |  |
| - Complex line profiles |  |  |
| - Temporal resolution |  |  |
| - Minimum time for spectrum |  |  |
| - Minimum time for spectroheliogram |  |  |
| - Temperature coverage |  |  |

## 2.4	Quiet region science

| - 2.4.1 Quiet region science requirements tableRequirement | - Value | - Science Drivers |
| --- | --- | --- |
| - Spatial Resolution |  |  |
| - Pixel Size | - <2 arcsec | - Network elements seen in HRTS in C IV lines have FWHM of about 3.4 arcsec. Filling factor arguments suggest structures seen in C IV have sizes as small as 1% of this number. - Explosive events observed in the transition region have sizes average sizes of 1500 km (2 arcsec). - Apparent diameter of many loops seen in TRACE is at resolution of 1 arcsec. - Quiet Sun observations of transition region with SUMER and corona with TRACE suggest structures at 1 arcsec level are common. |
| - Field of View | - >1 arcmin | - Need to image at least one supergranule cell. Typical size of supergranule cell is 35,000 km (about 60 arcsec). |
| - Spectral Resolution |  |  |
| - Velocity Resolution | - <2 km/s | - Transition region observations of explosive events from HRTS show peak velocities of around 100 km/s. - Steady downflows seen in quiet transition region lines have peak Doppler shift velocities of around 10 km/s. |
| - Line broadening | - <5 km/s | - Nonthermal line broadening observations in the transition region and corona show a peak quiet Sun value of about 25 to 30 km/s, with a decrease toward the corona to values of 10 to 20 km/s. |
| - Complex line profiles | - <10 km/s | - For a complex event, which is not simply Gaussian in shape, want enough velocity resolution to try to follow the detailed evolution of the emission as a function of position relative to the location of the rest wavelength. For a peak velocity of 100 km/s, would like say 10 velocity bins. |
| - Temporal resolution |  |  |
| - Minimum time for spectrum | - 7.25 s (1 arcsec slit) - 15 s (2 arcsec slit) | - Explosive event has typical velocity of 100 km/s. If motion orthogonal to line of sight, then feature would travel 1 arc sec every 7.25 s. If wish to follow such an event, then minimum time for spectrum would be at least time to get decent Doppler shift measurement (time to get 100 counts). - Coronal heating theories involving waves suggest would like to measure changes on the order of the time it takes a wave to transit the structure. Taking a supergranule cell as a characteristic size and a speed of 1000 km/s, gives a time of 35 s. |
| - Minimum time for spectroheliogram | - ? | - Would like to cover a supergranule cell at a sufficient cadence to view relationship of evolving magnetic elements to upper transition region and coronal structure. Time scale for this is long. - Would like to see possible effects of explosive events on surroundings. Requires only small field of view, but am not sure what repetition time. |
| - Temperature coverage | - min below 600,000 K - max ? | - Linking with SOT observations requires at least one line formed in the transition region. CDS data suggests that any line formed below a temperature of about 600,000 K will be fine. - Having a strong transition region line would provide extra science when the SOT is distant from active regions. - Quiet corona is not very interesting at higher temperatures. Thus need at least one strong line in low corona (near 1 MK). |

## 2.5	Science tradeoffs

- The tables below reproduce the first two columns of the science requirements tables and then list in the third column the tradeoff information between the two configurations and the three wavelength bands.  Much more needs to be added here.

### 2.5.1	Active regions

| - Requirement | - Value | - Tradeoffs |
| --- | --- | --- |
| - Spatial Resolution |  |  |
| - Pixel Size | - 1 arcsec or less | - Cassegrain only way to achieve this requirement. |
| - Field of View | - 5 arcmin, but could be as small as 2 arcmin for some observations | - Either instrument can achieve. |
| - Spectral Resolution |  |  |
| - Velocity Resolution | - <2 km/s | - Either instrument can achieve with 100 counts/s or more. |
| - Line broadening | - <5 km/s | - Either instrument can achieve with 100 total counts or more. - Excellent line profiles at the 500 to 1000 total counts. - Issue is time to reach these numbers |
| - Complex line profiles | - ? | - Analyzing complex line profiles will probably require 500 to 1000 or more counts in line. - Issue is time to reach these numbers. |
| - Temporal resolution |  |  |
| - Minimum time for spectrum | - 5 s (1 arcsec slit) - 10 s (2 arcsec slit) | - Cassegrain can achieve 100 count level in 5 s for any line with a count rate of 20 counts/s or more (11 lines in NRL1, 5 lines in NRL2, 6 lines in Baseline). - Cassegrain can achieve 500 count level in 5 s for any line with a count rate of 100 counts/s or more (2 lines in NRL1, 1 line in NRL2, 0 lines in Baseline. - OAP can achieve 100 count level in 10 s for any line with a count rate of 10 counts/s or more (all lines listed in wavelength band tables listed above). - OAP can achieve 500 count level in 10 s for any line with a count rate of 50 counts/s or more (34 lines in NRL1, 17 lines in NRL2, 38 lines in Baseline). - Caveat—OAP numbers are based on fully filled 2 arcsec pixels. If we assume fine structure is 1 arcsec, then count rates in the tables should be reduced by about a factor of 4 for the OAP. This then leads to a threshold of 40 counts/s for 100 count level and 200 counts/s for 1000 count level. |
| - Minimum time for spectroheliogram | - <10 min | - Cassegrain covers 5 arcmin in 300 1 arcsec steps. Achieving that at the 100 count level in a line in 10 min requires 2 s integrations, leading to a minimum count rate of 50 counts/s (3 lines in NRL1, 3 lines in NRL2, 1 line in Baseline) - OAP covers 5 arcmin in 150 2 arcsec steps. Achieving that at the 100 count level in 10 min requires 4 s integrations, leading to a minimum count rate of 25 counts/s (numerous lines in each wavelength band). |
| Temperature coverage | min below 600,000 K, max at least 5 MK |  |

### 2.5.2	Flares

| Requirement | Value | Tradeoffs |
| --- | --- | --- |
| Spatial Resolution |  |  |
| Pixel Size |  |  |
| Field of View |  |  |
| Spectral Resolution |  |  |
| Velocity Resolution |  |  |
| Line broadening |  |  |
| Complex line profiles |  |  |
| Temporal resolution |  |  |
| Minimum time for spectrum |  |  |
| Minimum time for spectroheliogram |  |  |
| Temperature coverage |  |  |

### 2.5.3	Quite Sun

| Requirement | Value | Tradeoffs |
| --- | --- | --- |
| Spatial Resolution |  |  |
| Pixel Size | <2 arcsec |  |
| Field of View | >1 arcmin |  |
| Spectral Resolution |  |  |
| Velocity Resolution | <2 km/s |  |
| Line broadening | <5 km/s |  |
| Complex line profiles | <10 km/s |  |
| Temporal resolution |  |  |
| Minimum time for spectrum | 7.25 s (1 arcsec slit) 15 s (2 arcsec slit) |  |
| Minimum time for spectroheliogram | ? |  |
| Temperature coverage | ? |  |

### 2.5.4	Conclusions

While both the science requirements tables and the science tradeoff tables are still incomplete, there are some conclusions that we can already reach.

- Both instruments have adequate spectral resolution for doing coronal and transition region dynamics.

- Both instruments can make spectroheliograms of reasonable sized regions of the solar corona.

- The key science tradeoff is between spatial resolution and temporal resolution.  We must somehow reach agreement on

- The shortest integration time required for active region, flare, and quiet Sun observations, both for individual spectra and for spectroheliograms,

- The required size of a spectroheliogram in active regions, flares, and quiet Sun, and

- Whether 1 arcsec spatial resolution is absolutely necessary or only desirable.

# 3.	Technical considerations

I’m in over my head in this area, but someone has to fill in some details here.

## 3.1	Mass

## 3.2	Power

## 3.3	Telemetry

## 3.4	Grating fabrication