## uvgrism
See Legend Sheet for explanation
nr | sid | obsid | grism ext | gimid | fimid | date | Xphi | Yphi | Xobs | Yobs | Xank | Yank | Xobs-Xank (pix) | Yobs-Yank (pix) | Dispersion coefficients (Calibration before cal table was made)
1 | WR52 | 56950007 | 1 | gu231139384I | w1231394014I | 80502 | 0.00066 | -0.00068 | 905 | 995.1 | 904.5 | 995.5 | 0.5 | -0.4 | 3.76121224e-10, -1.20346130e-06, 1.33373377e-03, 3.18984092e+00, 2.60155445e+03
2 | WR86 | 57000005 | 1 | gu231383283I | w1231383514I | 80502 | 0.0025 | -0.00176 | 917.5 | 992.1 | 916.2 | 988.7 | 1.3 | 3.4 | 3.75431112e-10, -1.20153346e-06, 1.33082656e-03, 3.18934770e+00, 2.60155871e+03
3 | WR52 | 56950007 | 2 | gu231399443I | w1231399744I | 80502 | 0.00232 | -0.00144 | 916.9 | 991.3 | 915.1 | 990.7 | 1.8 | 0.6 | 3.75547824e-10, -1.20182586e-06, 1.33124594e-03, 3.18941660e+00, 2.60155799e+03
4 | WR86 | 57000005 | 2 | gu231388883I | w1231389214I | 80502 | 0.00306 | -0.00051 | 923.2 | 999 | 919.7 | 996.7 | 3.5 | 2.3 | 3.75586010e-10, -1.20172355e-06, 1.33096166e-03, 3.18935699e+00, 2.60155779e+03
6 | WR86 | 57011002 | 1 | gu236456305I | w1236456305I | 80629 | 0.00668 | 0.00264 | 947.2 | 1021.2 | 942.5 | 1017 | 4.7 | 4.2 | 3.75392391e-10, -1.20048829e-06, 1.32868227e-03, 3.18893753e+00, 2.60155914e+03
7 | WR86 | 57012002 | 1 | gu236462064I | w1236462424I | 80629 | -0.01642 | 0.01086 | 801.9 | 1073.9 | 796.4 | 1067.8 | 5.5 | 6.1 | 5.11249771e-10, -1.38924520e-06, 1.39836103e-03, 3.20579683e+00, 2.60034317e+03
8 | WR86 | 57013002 | 1 | gu236543063I | w1236543424I | 80629 | -0.00167 | 0.01752 | 895.9 | 1116.8 | 889.3 | 1111.2 | 6.6 | 5.6 | 4.41544399e-10, -1.29947680e-06, 1.37002429e-03, 3.19774713e+00, 2.60081809e+03
9 | WR86 | 57014002 | 1 | gu236548824I | w1236549185I | 80630 | -0.00419 | -0.00405 | 879.5 | 978.9 | 874 | 973.7 | 5.5 | 5.2 | 4.37433392e-10, -1.29161716e-06, 1.35903431e-03, 3.19591598e+00, 2.60083077e+03
10 | WR86 | 57018001 | 1 | gu242197488I | w1242197979I | 80904 | 0.02144 | -0.03827 | 1046.5 | 767.9 | 1038.4 | 756 | 8.1 | 11.9 | 3.64310207e-10, -1.17164064e-06, 1.28801858e-03, 3.18306701e+00, 2.60162565e+03
11 | WR86 | 57018002 | 1 | gu242198243I | W1242198694I | 80904 | 0.02609 | -0.03729 | 1068 | 769.1 | 1068 | 762.4 | 0 | 6.7 | 3.63617247e-10, -1.16894902e-06, 1.28355555e-03, 3.18234518e+00, 2.60162866e+03
12 | WR86 | 57015001 | 1 | gu242208781I | W1242209111I | 80904 | 0.03484 | 0.02377 | 1135.3 | 1167 | 1121 | 1153.3 | 14.3 | 13.7 | 3.71786785e-10, -1.18882519e-06, 1.31034115e-03, 3.18618702e+00, 2.60158437e+03
13 | WR86 | 57015002 | 1 | gu242209403I | W1242209793I | 80904 | 0.01959 | 0.0249 | 1130.1 | 1190.8 | 1134.6 | 1185.7 | -4.5 | 5.1 | 3.72115788e-10, -1.18958007e-06, 1.31141018e-03, 3.18647569e+00, 2.60158334e+03
14 | WR86 | 57016001 | 1 | gu242214541I | W1242214932I | 80904 | -0.01708 | 0.02184 | 809.3 | 1155.4 | 801.43 | 1151.6145 | 7.87 | 3.7855 | 1.04481278e-09, -2.02515151e-06, 1.51373869e-03, 3.24930602e+00, 2.59690765e+03
15 | WR86 | 57016002 | 1 | gu242215284I | W1242215614I | 80904 | -0.0274 | 0.04051 | 724.3 | 1262.4 | 737.057 | 1274.2156 | -12.757 | -11.8156 | 4.25474336e-09, -5.31621994e-06, 1.89443751e-03, 3.47551046e+00, 2.58545459e+03
16 | WR86 | 57017001 | 1 | gu242220361I | W1242220692I | 80904 | -0.05671 | -0.0405 | 667.4 | 779.9 | 661.1859 | 772.8096 | 6.2141 | 7.0904 | 5.87677503e-10, -1.47069424e-06, 1.40762768e-03, 3.21305554e+00, 2.60006959e+03
17 | WR86 | 57017002 | 1 | gu242220983I | W1242221375I | 80904 | -0.03982 | -0.02373 | 646 | 851.1 | 657.7285 | 856.057 | -11.7285 | -4.957 | 5.89201348e-10, -1.47441766e-06, 1.41524425e-03, 3.21400666e+00, 2.60007532e+03
20 | WR86 | 57020001 | 1 | GU244158133I | W1244158463I | 80926 | 0.01582 | 0.01082 | 1102.3 | 1082.3 | 1110.9 | 1095.8 | -8.6 | -13.5 | 3.70633548e-10, -1.18596121e-06, 1.30620382e-03, 3.18540795e+00, 2.60158991e+03
21 | WR86 | 57020002 | 1 | GU244158743I | W1244159074I | 80926 | 0.06141 | 0.02834 | 1403.5 | 1217.1 | 1402.7 | 1209.7 | 0.8 | 7.4 | 3.62733257e-10, -1.16302843e-06, 1.27135394e-03, 3.18159756e+00, 2.60164108e+03
22 | WR86 | 57021001 | 1 | GU244163953I | W1244164284I | 80926 | -0.0382 | 0.09105 | 758.5 | 1598 | 769.7 | 1599.6 | -11.2 | -1.6 | 6.38782291e-09, -6.06959403e-06, 1.53964509e-03, 3.52688548e+00, 2.59558560e+03]
23 | WR86 | 57021002 | 1 | GU244164564I | W1244164864I | 80926 | 0.00257 | 0.09773 | 1028.7 | 1652.4 | 1026.9 | 1645.9 | 1.8 | 6.5 | 5.93798855e-10, -1.48049703e-06, 1.43309486e-03, 3.21912633e+00, 2.60009216e+03
24 | WR86 | 57022001 | 1 | GU244169713I | W1244170043I | 80927 | -0.07202 | 0.08193 | 540.4 | 1538.9 | 558.1 | 1538.4 | -17.7 | 0.5 | 1.90657911e-08, -1.33624253e-05, 8.41189749e-04, 3.97683395e+00, 2.60624139e+03
25 | WR86 | 57022002 | 1 | GU244170324I | W1244170655I | 80927 | -0.03133 | 0.07736 | 691.7 | 1499.9 | 703.1 | 1487.4 | -11.4 | 12.5 | 6.15919321e-09, -5.60918097e-06, 1.43040807e-03, 3.49249187e+00, 2.59848744e+03
27 | WR86 | 57023002 | 1 | GU244176024I | W1244176505I | 80927 | -0.08311 | 0.11945 | 489.2 | 1786.6 | 491.5 | 1772.2 | -2.3 | 14.4 | 5.85426767e-09, 2.51849162e-06, 7.30036068e-04, 2.95063737e+00, 2.60654155e+03
29 | WR86 | 57024002 | 1 | gu244239564I | w1244239863I | 80927 | -0.11069 | 0.05035 | 307.7 | 1349.6 | 317.3 | 1335.1 | -9.6 | 14.5 | 7.33204583e-10, -1.62468229e-06, 1.54889409e-03, 3.25158987e+00, 2.60018427e+03
32 | WR86 | 57026001 | 1 | gu244250533I | w1244250864I | 80927 | -0.09012 | -0.09966 | 444.2 | 368.5 | 448.2 | 382.4 | -4 | -13.9 | 7.39679123e-10, -1.59504045e-06, 1.42434341e-03, 3.22903677e+00, 2.59999673e+03
33 | WR86 | 57026002 | 1 | gu244251144I | w1244251443I | 80927 | -0.04824 | -0.09609 | 702.4 | 409.5 | 711 | 407.4 | -8.6 | 2.1 | 5.83037267e-10, -1.45294903e-06, 1.37192209e-03, 3.20961933e+00, 2.60004077e+03

## Legend
cal file used: swwavcal20090323_v1_mssl_ug200.fits
selected data
det-image coordinates used | To convert to DET pixel coordinates add (104,78)
first / single lenticular image file for position
POSITIONS
[5 empty] | ra,dec USED | : | wr1 = (10.8683208,+64.759825)
Column Header | explanation | [5 empty] | wr52 = (199.6166375,-58.1371111)
nr | number | [5 empty] | wr86 = (259.5960875,-34.4085083)
sid | source ID
obsid | observation id
ext | extension
gimid | grism image ID
fimid | filter image ID
date | date observed
Xphi, Yphi | Angle input ray from boresight along DET axis
Xank,Yank | grism DET 2600(1) anker coordinates from my bilinear interpolation in the Cal table
Xobs,Yobs | Anker position measured on contour plot overlaid on grism image
Xobs-Xank, Yobs-Yank | accuracy of the fit
Dispersion coeeficients | Coefficients determined during the calibration (these differ slightly from the ones of the calibration table
|  | Xdet | Ydet
| UV nominal grism Boresight anker at 2600(first order) | 901.53 | 1001.69 | img coord
| uvw1 filter boresight | 954.6 | 1044.66